# Instructions for Completing the

# Laser Registration Form

## Section 1: Approval Holder Information

Fill in all sections.

## Section 2 Laser Information

Fill in all sections.

Make sure to provide additional wavelengths if applicable.

## Section 3: Laser Hazards

## Check all boxes that apply to laser use and provide any comments and details of the laser system.

## Section 4: Personal Protective Equipment

Fill in information for your eyewear or other protective equipment required within the Nominal Hazard Zone.

Additional forms to be submitted:

      - Laser Spec Sheet

      - Include a picture of the laser.

The University Of Arizona

Laser Registration Form

Before use in a research laboratory, Class 3B (CW 5-500 mw or pulsed 10 J/cm²) and Class 4 (> 500mw (0.5W)) lasers must be registered under the UA Laser Safety Program. To complete this section, include the laser identification data, laser specifications, and a description of use.  Also, please attach the laser spec sheet for records.

| First Name | Last Name | E-Mail | Phone Number |
| --- | --- | --- | --- |

Section 1: Approval Holder information:

Section 2: Laser Information

Operational status:  Active   Storage       Location (Building/Rm #)

| Make/Model of Laser: | Laser Serial Number: |
| --- | --- |
| Type of lasing medium: Choose an item. | Laser classification marked on laser: 3B 4 other: |  |
| Beam diameter at aperture: (mm) | Beam Divergence: (mrad) |  |

CW laser:		Pulsed Laser:  ☐ repetitive  ☐ single

| Wavelength: (nm) |  | wavelength: (nm) |
| --- | --- | --- |
| Max operating power: (W) |  | pulse duration: (sec) |
| Average operating power: (W) |  | pulse frequency: (Hz) |
|  |  | max operating energy: (J) |
|  |  | average operating energy: (J) |

Addition Wavelengths:

| Wavelength (nm) | Power/energy | In use |
| --- | --- | --- |
|  |  | ☐ |
|  |  | ☐ |
|  |  | ☐ |

Will this laser be used in free space (open beam)  ☐ Yes* ☐ No - Optical Fiber Type:   Single mode   Multi-Mode

*if Yes please explain Control Measures:

Click or tap here to enter text.

Section 3: Laser Hazards:

Check all that apply to laser use (describe briefly):

☐ Use of cryogenics

☐ Use of compressed gases

☐ High voltage power

☐ Dye laser

☐ Exposed beam paths

☐ High noise levels

☐ Laser cutting/welding

☐ Use of pumping laser

☐ Beam focusing optics

☐ UA fabricated laser

☐ UA modified laser

☐ Freq. doubling crystal

☐ Tunable laser

☐ OPO/OPA

☐ Other

Comments/details on laser or laser system (include information on the pumping laser here or on a separate form, if applicable):

Section 4: Personal Protective Equipment:

- Eyewear Registration

| Wavelength(s) Attenuated (nm) and Optical Density (OD) | Manufacture/Model | Location |
| --- | --- | --- |
| 1064 5+, 663-780 +2 | UVEX | 94/584 |

- Other Protective equipment required within the Nominal Hazard Zone

| ITEM | LOCATION | USAGE CONDITION |
| --- | --- | --- |